## Slide 1: It’s Not Drainage Any More It’s Too Valuable
Richard Ashley, Bruce Horton, Chris Digman, Berry Gersonius, Paul Shaffer, Adam Baylis, Taneha Bacchin

## Slide 2: What do we mean by drainage?
to manage water or wastewater to ‘flow away’ from something or somewhere
the term should be seen as having a degree of fluidity (excuse the pun)
“wastewater constitutes a valuable resource that, if sustainably managed, is set to become a central pillar of the circular economy” (UN, 2017)
all systems interact, especially in urban areas

## Slide 3: We have moved towards water sensitivity, where land use planning interacts fully with urban water management

## Slide 4: All forms and occurrences of water are opportunities

## Slide 5: Of course what was historically seen as conveyed in and by ‘drainage’ has always been a resource

## Slide 6: From problem-centred to opportunity-centred thinking
Engineers historically solved problems
Drainage ‘owned’ by engineers
Current ideas mean engineers are not the main interested parties or professionals
  Planners
  Landscape architects
  Health professionals (ironically)
  Ecologists
  Economists
  artists

## Slide 8: Benefits of SuDS tool (B£ST)
Developed in UK under auspices of CIRIA (Construction Industry Research and Information Association)
By MWH (Stantec), EcoFutures Ltd and IHE Delft

## Slide 9: Assessing multiple benefits from stormwater management/SuDS
BeST is being used as part of the INTERREG North Sea Region project BEGIN [http://northsearegion.eu/begin/], together with the equivalent Dutch tool, TEEB in ten cities around North Sea area.
  Bradford, Hamburg, Bergen, Dordrecht, Enfield, Kent, Aberdeen, Gothenburg, Ghent, Antwerp
Application of the tools in the UK and Netherlands has revealed that many of the more substantial benefits from SuDS/BGI are not those related to flood, drought or water quality, but accrue to amenity and human health, especially for distributed interventions across a catchment.

## Slide 10: Example case study from North of England
Project is to clean up CSO emissions to protect habitats, i.e. water quality is primary objective. These results show the retrofit SuDS value.
Benefits determined using BeST show that over the lifetime amenity and flooding benefits are the largest.
However, when using a scenario based analysis, the amenity value ceases after the initial phase of the project.
Chart: Value £m
| flooding | water quality | amenity | recreation
 | 4.4704 | 0.7674 | 4.7439 | 0.37969
Ashley R M., Gersonius B., Digman C J., Horton B., Bacchin T., Smith B., Shaffer P., Baylis A. (in press). Demonstrating and monetizing the multiple benefits from using LID. American Society of Civil Engineers. Journal of Sustainable Water in the Built Environment.

## Slide 11: The importance of health benefits
The original scheme had some 250 new trees and 125 people would have a nicer view over green areas.
By increasing the numbers of trees and giving more people green views the value of the health benefits goes from £650,000 to £3,400,000.
Stormwater management provides this opportunity – BUT of course the new trees could be planted anyway – WITHOUT changes to the stormwater system.

## Slide 12: UK 21st Century Drainage Programme valuing the benefits for use in costs benefit analysis of storm drainage improvements
An on-going project to understand better how SuDS can be used to create added value while at the same time addressing high frequency spilling CSOs
Builds on current standards for managing CSOs.
10 cases being studied
Draft framework

## Slide 13: Rural small town of 5000 inhabitants improve river class by reducing overflows from PS
Variety of street based SuDS
Costs £1.5m
Benefits: £3.4m after confidence scores
BUT health benefits alone provide £2.4m
Before confidence scores
After confidence scores

## Slide 14: Who benefits, in what way and who should pay for this?
We need to consider the here and now – liveability
AND the future
  SuDS/BGI are more flexible and therefore more adaptable and more resilient
  Need to use scenario analysis to look at robustness of options
Today’s beneficiaries will not be the same as tomorrow’s
Tomorrow’s SuDS operators will not be the same as today’s

## Slide 15: Summary and conclusions
‘Drainage’ is too valuable to ‘drain away’
But the nature [of drainage] has changed – at least back to what drainage used to be in the past – a resource
Engineers are no longer the professionals at the centre of managing ‘wastewater’
Wastewater is opportunity water
Land use is at the heart of the process
Should we ban the use of the word ‘drainage’ as being too negative?