## Components
Component | Parent | Name/Type | Identical items on Parent | Size | Mass | Material | Connection | Burial Depth | Functions | Hazard
Windfarm | Root | Sample Windfarm | 1
Wind Turbine | Windfarm | Siemens SWT-3.6-107 | 88 | [5 empty] | Ct.m;Cp.m
Offshore Sub-Station | Windfarm |  | 2
Onshore Sub-Station | Windfarm |  | 1
Power Transmission | Windfarm |  | 1
Meteorological Mast | Windfarm |  | 1
Scour Protection | Windfarm |  | 1
MM Sensors | MM Topside |  | 1
MM Navigational aids | MM Topside |  | 1
MM Foundation | Meteorological Mast | Monopile | 1
MM Topside | Meteorological Mast |  | 1
MM Tower | Meteorological Mast |  | 1
OFSS Electrical System | OFSS Topside |  | 1
OFSS Facilities | OFSS Topside |  | 1
OFSS-HVACS Switchgear | OFSS Electrical System |  | 1
OFSS-HVACS Transformers | OFSS Electrical System |  | 1
OFSS-HVACS Earthing system | OFSS Electrical System |  | 1
OFSS-HVACS Auxillary system | OFSS Electrical System |  | 1
OFSS-HVACS Waterproof enclosure | OFSS Electrical System |  | 1
OFSS-HVACS Cable tray | OFSS Electrical System |  | 1
OFSS-HVACS Cable track | OFSS Electrical System |  | 1
OFSS-HVACS Cable clamp | OFSS Electrical System |  | 1
OFSS-HVACS Cable support | OFSS Electrical System |  | 1
OFSS Auxiliary electrical systems | OFSS Facilities |  | 1
OFSS Monitoring systems | OFSS Facilities |  | 1
OFSS Communication system | OFSS Facilities |  | 1
OFSS Fire and blast protection systems | OFSS Facilities |  | 1
OFSS Standby generator | OFSS Facilities |  | 1
OFSS Crane | OFSS Facilities |  | 1
OFSS Control room & refuge | OFSS Facilities |  | 1
OFSS Clean and black water systems | OFSS Facilities |  | 1
OFSS Fuel tanks | OFSS Facilities |  | 1 | [6 empty] | Fuel
OFSS Heating, ventilation and AC | OFSS Facilities |  | 1
OFSS Helideck and/or heliwinch | Offshore Sub-Station |  | 1
OFSS Transition Piece | Offshore Sub-Station |  | 1 | 22,5,5 | 200000 | Steel@100% | OFSS Topside@Weld~Plasma(5,0.05);OFSS Foundation@Grouted~Plasma(5.7,0.06)
OFSS Foundation | Offshore Sub-Station | Monopile | 1 | 61,5.7,5.7 | 531000 | Steel@100% | OFSS Transition Piece@Grouted~Plasma(5.7,0.06);Seabed OFSS@Driven~AWJ(5.7,0.06) | 30 | Degrade.m
OFSS Topside | Offshore Sub-Station |  | 1 | 30.5,17.7, 16 | 900000 | Steel@100% | OFSS Transition Piece@Weld~Plasma(5,0.05)
Export Cable | Power Transmission | 145 kV | 1 | 44000,0,0 |  | Copper@100% |  | 1
Array Cable | Power Transmission | 36 kV | 1 | 83000,0,0 |  | Copper@100% |  | 1
Cable Protection | Power Transmission |  | 1
EC Core | Export Cable |  | 1
EC Outer | Export Cable |  | 1
EC Accessories | Export Cable |  | 1
EC Jointing and testing | Export Cable |  | 1
EC Conductor | EC Core |  | 1
EC Conductor screen | EC Core |  | 1
EC XLPE insulation | EC Core |  | 1
EC Insulation screen | EC Core |  | 1
EC Lead sheath | EC Core |  | 1
EC Bitumen | EC Outer |  | 1
EC Polypropylene strings | EC Outer |  | 1
EC Steel wire | EC Outer |  | 1
EC Interface plug | EC Accessories |  | 1
EC Hang-off clamp | EC Accessories |  | 1
EC connector and T-connector | EC Accessories |  | 1
EC Cable cleats | EC Accessories |  | 1
EC Cable trays | EC Accessories |  | 1
EC Joints | EC Jointing and testing |  | 1
EC Electrical test and diagnostics devices | EC Jointing and testing |  | 1
AC Conductor | Array Cable |  | 1
AC Insulator | Array Cable |  | 1
AC Electrical screen | Array Cable |  | 1
AC Optical fibre cable | Array Cable |  | 1
AC Mechanical and chemical protection | Array Cable |  | 1
J-tube seals | Cable Protection |  | 1
Bend restrictors | Cable Protection |  | 1
Bend stiffeners | Cable Protection |  | 1
Cable mattresses | Cable Protection |  | 1
Rock placement | Cable Protection |  | 1
Nacelle | Wind Turbine |  | 1 |  | 70000 |  | Hub@Bolted~Unbolt(24);WT Tower@Bolted~Unbolt(120)
WT Tower | Wind Turbine |  | 1 | 80,5,5 | 255000 | Steel@100% | Nacelle@Bolted~Unbolt(120);WT Transition Piece@Bolted~Unbolt(100)+Plasma(5,0.04)
WT Transition Piece | Wind Turbine |  | 1 |  | 260000 | Steel@100% | WT Tower@Bolted~Unbolt(100)+Plasma(5,0.04);WT Foundation@Grouted~Plasma(3.4,0.05)
WT Foundation | Wind Turbine | Monopile | 1 | 50,3.4,3.4 | 1200000 | Steel@100% | WT Transition Piece@Grouted~Plasma(3.4,0.05);Seabed WT@Driven~AWJ(3.4,0.05)
Blade1 | Wind Turbine |  | 1 | 52,1,4.2 | 12000 | Glass Reinforced Epoxy@95%;Other@5% | Hub@Bolted~Unbolt(64)
Blade2 | Wind Turbine |  | 1 | 52,1,4.3 | 12000 | Glass Reinforced Epoxy@95%;Other@5% | Hub@Bolted~Unbolt(64)
Blade3 | Wind Turbine |  | 1 | 52,1,4.4 | 12000 | Glass Reinforced Epoxy@95%;Other@5% | Hub@Bolted~Unbolt(64)
Hub | Wind Turbine |  | 1 |  | 4000 | Steel@100% | Blade1@Bolted~Unbolt(64);Blade2@Bolted~Unbolt(64);Blade3@Bolted~Unbolt(64);Nacelle@Bolted~Unbolt(24)
Pitch System | Hub |  | 1
Rotor Spinner | Hub |  | 1
Rotor Auxiliary Systems | Hub |  | 1
Bedplate | Nacelle |  | 1
Main Bearing | Nacelle |  | 1
Main Shaft | Nacelle |  | 1
Gearbox | Nacelle |  | 1
Generator | Nacelle |  | 1
Power Take-off System | Nacelle |  | 1
Power Control System | Nacelle |  | 1
Yaw System | Nacelle |  | 1
Auxiliary Systems | Nacelle |  | 1
Nacelle Cover | Nacelle |  | 1
Condition Monitoring System | Nacelle |  | 1
GB Bearings | Gearbox |  | 1
GB Gears | Gearbox |  | 1
GB Lubricants | Gearbox |  | 1 | [6 empty] | Lubricant
GB Sensors | Gearbox |  | 1
Asynchronous | Generator |  | 1
G Windings | Generator |  | 1
G Bearings | Generator |  | 1
G Sensors | Generator |  | 1
G High-speed shaft coupling | Generator |  | 1
PTO Power converter | Power Take-off System |  | 1
PTO Transformer | Power Take-off System |  | 1
PTO Switchgear | Power Take-off System |  | 1
PTO Cables | Power Take-off System |  | 1
PCS Control panels | Power Control System |  | 1
PCS Control system | Power Control System |  | 1
PCS Sensors | Power Control System |  | 1
PCS Safety and Emergency Systems | Power Control System |  | 1
YS Motors and associated gearboxes | Yaw System |  | 1
YS Brakes | Yaw System |  | 1
YS Sensors | Yaw System |  | 1
AS Brake | Auxiliary Systems |  | 1
AS Rotor lock | Auxiliary Systems |  | 1
AS Cooling | Auxiliary Systems |  | 1
AS Anemometry | Auxiliary Systems |  | 1
AS Fire protection | Auxiliary Systems |  | 1
AS UPS | Auxiliary Systems |  | 1
AS Internal service crane | Auxiliary Systems |  | 1
AS Wind Vane | Auxiliary Systems |  | 1
CMS Sensors | Condition Monitoring System |  | 1
Tower Structure | WT Tower |  | 1
Tower Internal Systems | WT Tower |  | 1
Tower Personnel access and survival equipment | Tower Internal Systems |  | 1
Tower Tuned Damper | Tower Internal Systems |  | 1
Tower Electrical System | Tower Internal Systems |  | 1
Tower Internal Lighting | Tower Internal Systems |  | 1
Crew access and platform | WT Transition Piece |  | 1
Internal platforms | WT Transition Piece |  | 1
Davit crane | WT Transition Piece |  | 1
J-tubes, I-tube or monopile entry point | WT Transition Piece |  | 1
Corrosion Protection System | WT Transition Piece |  | 1
Steel framework | Crew access and platform |  | 1
Decking | Crew access and platform |  | 1
Guardrails | Crew access and platform |  | 1
Lightweight steel frame and decking | Internal platforms |  | 1
Steelwork | Davit crane |  | 1
Tubular steel | J-tubes, I-tube or monopile entry point |  | 1
Monopile Structure | WT Foundation |  | 1 | [5 empty] | Degrade.m
OSS Buildings, access and security | Onshore Sub-Station |  | 1
OSS Monitoring systems | OSS Buildings, access and security |  | 1
OSS Auxiliary and low voltage system | OSS Buildings, access and security |  | 1
OSS Welfare facility | OSS Buildings, access and security |  | 1
Hydraulic Cylinder | Pitch System |  | 3
Seabed OFSS | Windfarm
Seabed WT | Windfarm

## Vessels
| JUV | BV | TB | ROV | OSV | CLV | DCBV | RDV
Mobalisation (k£) | 400 | 172.4 | 0 | 34.5 | 0 | 445 | 100 | 10.6
Daily Rate (k£) | 100 | 12.9 | 8.6 | 3.45 | 3.9 | 40 | 50 | 11.9
Speed (km/hr) | BV: 15; TB: 15
Crane Capcity (tons) | JUV: 1500
Number | 1 | 2 | 2 | 1 | 1 | 0 | 0 | 0
Positioning Time (hr) | JUV: 9; OSV: 0.5; DCBV: 6
Freeup Time (hr) | JUV: 1; OSV: 0.5; DCBV: 8

## BV_DeckCapcity
BV Capcity | BV Capcity | BV Capcity | BV Capcity | BV Capcity | BV Capcity | BV Capcity | BV Capcity | BV Capcity | BV Capcity | BV Capcity | BV Capcity | BV Capcity
Blade | Hub | Nacelle | WT Tower | WT Transition Piece | WT Foundation | Blade&Hub | Blade&Blade&Hub | Blade&Blade&Blade&Hub | Hub&Nacell | OFSS Topside | OFSS Transition Piece | OFSS Foundation
90 | 1000 | 70 | 60 | 20 | 20 | 100 | 20 | 45 | 50 | 4 | 20 | 20

## Site
DistancePort
10

## Sheet1
V | CT
3 | 0.9
4 | 0.9
5 | 0.9
6 | 0.9
7 | 0.9
8 | 0.9
9 | 0.9
10 | 0.8
12 | 0.6
14 | 0.3
15 | 0.25
20 | 0.1
25 | 0.05
30 | 0.05

## Sheet2
Wall Thickness (mm) | AWJ Speed (mm/min)
40 | 111
50 | 80
65 | 54
85 | 36
120 | 21
130 | 18
135 | 17
150 | 14
Wall Thickness (mm) | Oxy Arc Speed (mm/min)
12.7 | 500
25.4 | 400
Wall Thickness (mm) | Plasma Speed (mm/min)
12.7 | 2200
25.4 | 1100